## Serial Dilutions
Concentration of stock solution (ppm) | 1015 |  |  |  |  | Type of apparatus | Uncertainty (mL) | Formula used
Error in concentration of stock solution (ppm) | 3 |  |  |  |  | 2 mL pipette | 0.006 | [1st dilution (ppm)] | (2 mL/100 mL)*[stock solution (ppm)]
Number of dilutions | 1 | 2 | 3 | 4 | 5 | 25 mL pipette | 0.03 | [2nd-5th dilution (ppm)] | (25 mL/50 mL)*[previous solution (ppm)]
Concentration of the solution (ppm) | 20.3 | 10.15 | 5.075 | 2.5375 | 1.2688 | 50 mL volumetric flask | 0.05 | Error in concentration (ppm)
Error in concentration (ppm) | 0.08702 | 0.046309 | 0.024474 | 0.012863 | 0.0067299 | 100 mL volumetric flask | 0.08 | Equation | Error calculation formula
[8 empty] | [First dilution ± ey ppm] = (2 ± 0.006 mL / 100 ± 0.08 mL)* | ey ppm = [first dilution ppm]*SQRT((0.006mL/2mL)^2 +
[8 empty] | ([stock solution] ± 3 ppm) | (0.08mL/100mL)^2 + (3 ppm / [stock solution ppm])^2)
[8 empty] | [Second to fifth solution ± ez ppm] = (25 ± 0.03 mL / 50 ± 0.05 mL)* | ez (ppm) = [second to fifth solution (ppm)]*SQRT((0.03mL/25mL)^2 + (0.05mL/50mL)^2 +
[8 empty] | ([previous solution] ± previous solutions' error ppm) | (previous solutions' error (ppm) / [previous solution (ppm)])^2)
[solution (ppm)] means the concentration of the solution in ppm
General error propagation formula
[8 empty] | Equation | Error propagation
[8 empty] | y = a + b - c | ey = SQRT(ea^2 + eb^2 + ec^2)
[8 empty] | y = a*b/c | ey = y*SQRT[(ea/a)^2 + (eb/b)^2 + (ec/c)^2]
[8 empty] | y = 10^x | ey = y*[ln(10)]*ex

## Calibration curve
Concentration (ppm) | log10 [F-] (ppm) | Replicate measurements of cell potential (mV) | [7 empty] | Linest output |  |  |  | Formula
|  | 1 | 2 | 3 | 4 | 5 | Average | Standard deviation | RSD (ppt) | m (mV/ppm) | -58.6653 | 42.6754 | b (mV) | log10[F-] (ppm) | LOG10(concentrations) function in excel
1.2688 | 0.10338 | 39 | 38.9 | 39.5 | 40.1 | 39.7 | 39.44 | 0.498 | 12.6267 | um (mV/ppm) | 2.8005 | 2.3075 | ub (mV) | Average cell potential (mV) | AVERAGE(values) function in excel
2.5375 | 0.40441 | 15.8 | 15 | 16.3 | 16.1 | 16 | 15.84 | 0.50299 | 31.7545 | R^2 | 0.99321 | 2.666 | sy (mV) | Standard deviation of cell potential (mV) | STDEV(values) function in excel
5.075 | 0.70544 | -0.15 | 0 | -0.3 | -0.18 | -0.2 | -0.166 | 0.10854 | -653.8296 | Fisher value | 438.8096 | 3 | d.f | RSD (ppt) | Standard deviation/Average * 10^3 ppt
10.15 | 1.0065 | -15.2 | -15.1 | -15.9 | -16 | -15 | -15.44 | 0.47223 | -30.5848 | regression SS | 3118.756 | 21.3219 | residual SOS | LINEST Output | LINEST(y values,x values, 1,1) function in excel
20.3 | 1.3075 | -33 | -33.2 | -33.4 | -33.2 | -33.3 | -33.22 | 0.14832 | -4.4649
3.437 | 0.53618 | 11 | 11.4 | 10.9 | 11.2 | 11.6 | 11.22 | 0.28636 | 25.522

## Unknown toothpaste
Mass of beaker (g) | 120.38 | Linest output |  |  |  | Concentration (ppm) | log10 [F-] (ppm) | Replicate measurements of cell potential (mV) | [7 empty] | Formula
Mass of beaker + toothpaste (g) | 120.6024 | m (mV/ppm) | -58.6653 | 42.6754 | b (mV) |  |  | 1 | 2 | 3 | 4 | 5 | Average | Standard deviation | RSD (ppt) | uy (mV) | Standard deviation/SQRT(number of data points)
Mass of toothpaste (g) | 0.2224 | um (mV/ppm) | 2.8005 | 2.3075 | ub (mV) | Unknown | Unknown | 11 | 11.4 | 10.9 | 11.2 | 11.6 | 11.22 | 0.28636 | 25.522 | ub (mV) and um (mV/ppm) | From LINEST output: LINEST(y values, x values, 1, 1)
Error in mass, es (g) | 0.0014142 | R^2 | 0.99321 | 2.666 | sy (mV) | [11 empty] | function in excel
|  | Fisher value | 438.8096 | 3 | d.f | [10 empty] | t value (C.I. 95%) | TINV(0.05,df) function in excel, df from LINEST output
Unknown data |  | regression SS | 3118.756 | 21.3219 | residual SOS | [10 empty] | log10 [F-] (ppm) | (Average cell potential - intercept) / slope
Average cell potential (mV) | 11.22 | Equation of the line |  | y = mx + b | [11 empty] | [F-] (ppm) | 10^(log10 [F-])
log10 [F-] (ppm) | 0.53618 |  | Student's t-value 95% C.I. error analysis | [12 empty] | 1 ppm = 1 g of solute/(10^6) g of solution
[F-] (ppm) | 3.437 |  | uy (mV) | 0.12806 | [11 empty] | Original [F-] in toothpaste (ppm) | [F-] g /(10^6 g)*(1g/mL)*(100 mL)/mass of toothpaste (g) *(10^6)
weight % of F- in toothpaste (%) | 0.15454 |  | ub (mV) | 2.3075 | [11 empty] | Weight % of [F-] in toothpaste (%) | [F-] g /(10^6 g)*(1g/mL)*(100 mL)/mass of toothpaste (g) *(100%)
error in weight % of F- in toothpaste, ew (%) | 0.053211 |  | um (mV/ppm) | 2.8005 | [11 empty] | Error Propagation Formula
Original [F-] in toothpaste (ppm) | 1545.4304 |  | t value (C.I. 95%) | 3.1824 | [11 empty] | y = mx + b, y = average cell potential (mV), x = log10 [F-] in ppm,
error in original [F-] in toothpaste, eg (ppm) | 532.1142 |  | t*uy (mV) | 0.40755 | [11 empty] | m,b = slope (mV/ppm) and intercept (mV) of calibration curve respectively
|  |  | t*ub (mV) | 7.3434 | [11 empty] | Equation | Error propagation
|  |  | t*um (mV/ppm) | 8.9126 | [11 empty] | (y ± t*uy) - (b ± t*ub) = (m*x) ± ea | ea = SQRT((t*uy)^2 + (t*ub)^2)
|  |  | (log10 [F-])*m (mV) | -31.4554 | [11 empty] | x ± ex = ((y - b) ± ea) / (m ± t*um) | ex = x*SQRT((ea/(y-b))^2 + (t*um/m)^2)
|  |  | ea (mV) | 7.3547 | [11 empty] | [F-] ± ef = 10^(x ± ex) | ef = [F-]*(ln 10)*ex
|  |  | log10 [F-] (ppm) | 0.53618 | [11 empty] | Original [F-] ± eg = ([F-] ± ef)/(10^6)*(1)* | eg = Original [F-]*SQRT((ef/[F-])^2 + (0.08/100)^2 +
|  |  | ex (ppm) | 0.14951 | [11 empty] | (100 ± 0.08)/(mass of toothpaste ± es)*(10^6) | (es/mass of toothpaste)^2)
|  |  | [F-] (ppm) | 3.437 | [11 empty] | Weight % [F-] ± ew = ([F-] ± ef)/(10^6)*(1)* | ew = Weight % [F-]*SQRT((ef/[F-])^2 + (0.08/100)^2 +
|  |  | ef (ppm) | 1.1832 | [11 empty] | (100 ± 0.08)/(mass of toothpaste ± es)*(100) | (es/mass of toothpaste)^2)
|  |  | Original [F-] in toothpaste (ppm) | 1545.4304 | [11 empty] | General Propagation Formula
|  |  | eg (ppm) | 532.1142 | [11 empty] | Equation | Error propagation
[16 empty] | y = a + b - c | ey = SQRT(ea^2 + eb^2 + ec^2)
[16 empty] | y = a*b/c | ey = y*SQRT[(ea/a)^2 + (eb/b)^2 + (ec/c)^2]
[16 empty] | y = 10^x | ey = y*[ln(10)]*ex