## EXERCISE 1 - A
Datum | 1 | 2 | 3
Mass of crucible cover (g) | 8.5593 | 8.5593 | 8.5594
Mass of crucible (g) | 12.2707 | 12.2709 | 12.2712
Calculated combined mass (g) | 20.83 | 20.8302 | 20.8306
Measured combined mass (g) | 20.8301 | 20.8304 | 20.8304
Difference in calculated and measured (g) | 0.0001 | 0.0002 | 0.0002

## EXERCISE 1 - B
Time interval (s) | Mass (g) | Mass difference for 30 s interval (g) | Rate of evaporation (mg/min) | Average rate of evaporation (mg/min) | 0.9
0 | 47.9734 | 0.0003 | 0.6 | Standard deviation (mg/min) | 0.21602
30 | 47.9731 | 0.0004 | 0.8
60 | 47.9727 | 0.0005 | 1
90 | 47.9722 | 0.0005 | 1
120 | 47.9717 | 0.0004 | 0.8
150 | 47.9713 | 0.0006 | 1.2
180 | 47.9707 | 0.0006 | 1.2
210 | 47.9701 | 0.0004 | 0.8
240 | 47.9697 | 0.0005 | 1
270 | 47.9692 | 0.0003 | 0.6
300 | 47.9689

## EXERCISE 1 - C
Mass of dry beaker (g) | 32.5254
Mass of dry beaker + fingerprints (g) | 32.5268
Number of fingerprints | 12
Mass of fingerprints (mg) | 1.4
Mass of one fingerprint (mg) | 0.11667
Standard error of fingerprints (mg) | 0.14142

## EXERCISE 1 - D
Mass A (g) | Mass B (g) | Consecutive difference A (g) | Consecutive difference B (g) | Difference in A and B (g)
15.7892 | 13.6725 | 0.4999 | 0.4998 | 0.0001
15.2893 | 14.1723 | 0.5001 | 0.5 | 0.0001
14.7892 | 14.6723 | 0.4999 | 0.4999 | 1.7764e-15
14.2893 | 15.1722
|  |  | Beaker A (NaCl + beaker) (g) | 15.7892
|  |  | Beaker B (Empty beaker) (g) | 13.6725

## EXERCISE 2
Minimum number of rinsings (A) | 2 | PART 3
Minimum number of rinsings (B) | 3
Volume of water rinsed (B) (mL) | 4.02 | Transfer pipette (mL) | 6 | Mass A (g) | Mass B (g) | Consecutive difference A (g) | Consecutive difference B (g) | Difference in A and B (mL)
|  | Temperature of water (°C) | 19 | 31.4725 | 79.175 | 5.9802 | 5.995 | 0.014824
|  | Density at 19°C (g/mL) | 0.99838 | 37.4527 | 73.18 | 6.0053 | 5.9905 | 0.014824
|  | Mass of beaker A (Empty) (g) | 31.4725 | 43.458 | 67.1895 | 5.9952 | 5.9805 | 0.014724
|  | Mass of beaker B (+ water) (g) | 79.175 | 49.4532 | 61.209 | 5.9901 | 5.9793 | 0.010818
|  | Tolerances (mL) | 0.015 | 55.4433 | 55.2297 | 5.9903 | 6.0018 | 0.011519
|  |  |  | 61.4336 | 49.2279 |  | Average difference (mL) | 0.013342
|  | Transfer pipette (mL) | 6 | Mass A (g) | Mass B (g) | Consecutive difference A (g) | Consecutive difference B (g) | Difference in A and B (mL)
|  | Temperature of water (°C) | 19 | 32.544 | 77.677 | 5.8286 | 5.8416 | 0.013021
|  | Density at 19°C (g/mL) | 0.99838 | 38.3726 | 71.8354 | 5.8797 | 5.8765 | 0.0032052
|  | Mass of beaker A (Empty) (g) | 31.4725 | 44.2523 | 65.9589 | 5.9148 | 5.9249 | 0.010116
|  | Mass of beaker B (+ water) (g) | 79.175 | 50.1671 | 60.034 | 5.9052 | 5.914 | 0.0088143
|  | Tolerances (mL) | 0.015 | 56.0723 | 54.12 | 5.9108 | 5.8963 | 0.014524
|  |  |  | 61.9831 | 48.2237 |  | Average difference (mL) | 0.0099361

## EXERCISE 3
Volume interval (mL) | Reading (mL)
0.00 - 5.00 | 0.72
5.00 - 10.00 | 5.19
10.00 - 15.00 | 10.15
15.00 - 20.00 | 15.1
20.00 - 25.00 | 20.2
25.00 - 30.00 | 25.15
30.00 - 35.00 | 30.2

## EXERCISE 4
Buret | B | C | D | E | G | H
Reading 1 | 9.34 | 15.5 | 5.4 | 9.75 | 26.13 | 25.45
Reading 2 | 9.3 | 15.6 | 5.4 | 9.8 | 26.1 | 25.5
Reading 3 | 9.2 | 15.6 | 5.35 | 9.8 | 26.15 | 25.35
Reading 4 | 9.25 | 15.58 | 5.4 | 9.8 | 26.1 | 25.45
Reading 5 | 9.3 | 15.6 | 5.4 | 9.8 | 26.15 | 25.4
Mean volume (mL) | 9.278 | 15.576 | 5.39 | 9.79 | 26.126 | 25.43
Standard deviation (mL) | 0.054037 | 0.043359 | 0.022361 | 0.022361 | 0.0251 | 0.057009

## EXERCISE 5
Beaker number | Observation
1 | Dark purple color (1)
2 | Purple color (1/10)
3 | Light purple color (1/100)
4 | Very light purple color (1/1000)