## Report Sheet Template
Report Sheet Template for Fluoride Ion-Selective Electrode Lab
| Date: |  | October 8th, 2019 |  | Name of TA: | Yinan Zhang
| Name of Partner 1: |  | Linh Nguyen |  | Lab Section: | 21
| Name of Partner 2: |  |  |  | Phase of moon:
Name of Partner 3:
Name of Partner 4:
| Mass of toothpaste used (g): |  | 0.2224
Label of second unknown:
A. | Measurements of Standards (change nominal conc. to actual conc.)
Potentials Measured for Standards (mV)
| Replicate | 10.15 ppm | 5.08 ppm | 2.54 ppm | 1.27 ppm
| 1 | -15.2 | -0.15 | 15.8 | 39
| 2 | -15.1 | 0 | 15 | 38.9
| 3 | -15.9 | -0.3 | 16.3 | 39.5
| 4 | -16 | -0.18 | 16.1 | 40.1
| 5 | -15 | -0.2 | 16 | 39.7
| Mean | -15.44 | -0.166 | 15.84 | 39.44
| Std Dev | 0.47223 | 0.10854 | 0.50299 | 0.498
| RSD (ppt) | -30.5848 | -653.8296 | 31.7545 | 12.6267
B. | Data from LINEST
| Slope of calibration plot (mV/log [F–]): |  | -58.6653
| Std. error in slope of calibration plot (mV/log [F–]): |  | 2.8005
| Intercept of calibration plot (mV): |  | 42.6754
| Std. error in intercept of calibration plot (mV): |  | 2.3075
C. | Measurements of Toothpaste and Second Unknown
Potentials Measured (mV)
| Replicate | Toothpaste | Second Unknown
| 1 | 11
| 2 | 11.4
| 3 | 10.9
| 4 | 11.2
| 5 | 11.6
| Mean | 11.22
| Std Dev | 0.28636
| RSD (ppt) | 25.522
D. | Reporting the Concentrations of your Unknowns
| ppm of F– in diluted toothpaste solution (as analyzed) |  |  | 3.437
| weight % F in toothpaste (as NaF) |  |  | 0.155
ppm of F– in second unknown
E. | Reporting the 95% Confidence Interval in the Concentrations of your Unknowns
| 95% C.I. in ppm of F– in diluted toothpaste solution (as analyzed) |  |  | 3.437 ± 1.183
| 95% C.I. in weight % F in toothpaste (as NaF) |  |  | 0.155 ± 0.053
95% C.I. in ppm of F– in second unknown