## Part I
PART I
Van conc. (µg/mL) | Absorbance (@347 nm) | (Van conc - Mean Van conc)2 | LINEST For Absorbance vs. Conc. Plot |  |  |  |  | Data of Unknown Solution (After all dilution) |  |  | 10 mL flask dilution |  | 250 mL flask dilution
1.05 | 0.16 | 4.2025 | m | 0.096853 | 0.053754 | b |  | Absorbance | Van conc. (µg/mL) | Error (µg/mL) | Van conc. (µg/mL) | Error (µg/mL) | Van conc. (µg/mL) | Error (µg/mL)
2.06 | 0.26 | 1.0816 | um | 0.0043734 | 0.014988 | ub |  | 0.24 | 1.923 | 0.10028 | 19.2296 | 1.0102 | 4807.4081 | 254.1916
3.08 | 0.34 | 0.0004 | R2 | 0.99392 | 0.014287 | sy |  | 0.25 | 2.0262 | 0.10006 | 20.2621 | 1.0088 | 5065.5302 | 254.0278
4.13 | 0.44 | 1.0609 | Fisher value | 490.4539 | 3 | df |  | 0.22 | 1.7165 | 0.10078 | 17.1647 | 1.0137 | 4291.1639 | 254.7287
5.18 | 0.57 | 4.3264 | Regression SOS | 0.10011 | 0.00061234 | Residual SOS |  | 0.22 | 1.7165 | 0.10078 | 17.1647 | 1.0137 | 4291.1639 | 254.7287
[8 empty] | 0.2325 | 1.8455 | 0.10046 | 18.4553 | 1.0114 | 4613.8165 | 254.3603 | Average Vanillin Concentration as provided
Harris pg 87
[5 empty] | Beer's law: A = εbC | [5 empty] | Glassware | Uncertainty (mL)
[7 empty] | Errors Propagated |  |  |  | 1 mL pipet | 0.006
[5 empty] | b (cm) | 1 | - |  |  |  | 10 mL flask | 0.02
[5 empty] | ε (mL/cm·µg) | 0.096853 | 0.0043734 |  |  |  | 250 mL flask | 0.12
Glassware Precision Harris pg 31-32
General Error Propagation
x = e^a
sigma_x = x*sigma_a
sigma_f = sqrt((df/dx * sigma_x)^2 + (df/dy * sigma_y)^2+…)
Equation above used for error estimates of concentration as measured, ignoring dilution.
[9 empty] | sy | Std. in absorbance
[9 empty] | m | Slope of calib. Line
[9 empty] | k | # of replicates
[9 empty] | n | # of data points in line
[9 empty] | y | Absorbance
[9 empty] | x | Van. Conc.

## Part II
PART II
Vs (mL) | Is+x | V0 (mL) | [S]i (µg/mL) | [S]f (µg/mL) | ([S]f - mean [S]f)2 | LINEST For Absorbance vs. Vol Van Added Plot |  |  |  |  | Mean Is+x | 0.392
0 | 0.24 | 1 | 1.07 | 0 | 0.045796 | m | 0.70093 | 0.242 | b |  | (Mean Is+x)2 | 0.15366
1 | 0.32 | 1 | 1.07 | 0.107 | 0.011449 | um | 0.0093458 | 0.0024495 | ub |  | n | 5
2 | 0.39 | 1 | 1.07 | 0.214 | 7.7037e-34 | R2 | 0.99947 | 0.0031623 | sy |  | Mean [S]f | 0.214
3 | 0.47 | 1 | 1.07 | 0.321 | 0.011449 | Fisher value | 5625 | 3 | df |  | Σ([S]f - mean [S]f)2 | 0.11449
4 | 0.54 | 1 | 1.07 | 0.428 | 0.045796 | Regression SOS | 0.05625 | 3e-05 | Residual SOS |  | ux from textbook | 0.0077248 | sy | Std. in absorbance
[11 empty] | Harris pg 106-108 |  | m | Slope of line plotted
Notation Used | [5 empty] | x-intercept | -0.34525 | [5 empty] | n | # of data points in line
[X]i/f | Init/final conc. of analyte | [7 empty] | Glassware | Uncertainty (mL) |  |  | y | Absorbance
[S]i/f | Init/final conc. of standard | [S]f = [S]i * Vs/V | [6 empty] | 1 mL pipet | 0.006 |  |  | x | Conc. Standard added
Ix | Signal from init soln. | [7 empty] | 10 mL flask | 0.02
Is+x | Signal from final soln. | [7 empty] | 250 mL flask | 0.12
V0 | Vol of analyte | [7 empty] | Glassware Precision Harris pg 31-32
Vs | Vol of standard soln.
V | 10 mL (final dilution) | [7 empty] | Dilution w/ 10 mL flask |  | Errors
[9 empty] | M2 (ug/mL) | 0.34525 | 0.0077248
[9 empty] | V2 (mL) | 10 | 0.02
[9 empty] | V1 (mL) | 1 | 0.006
[9 empty] | M1 (ug/mL) | 3.4525 | 0.080275
[9 empty] | Dilution w/ 250 mL flask |  | Errors
[9 empty] | M2 (ug/mL) | 3.4525 | 0.080275
[9 empty] | V2 (mL) | 250 | 0.12
[9 empty] | V1 (mL) | 1 | 0.006
[9 empty] | M1 (ug/mL) | 863.1333 | 20.7304
Vanillin Concentration as provided