## Data
Caffeine |  |  |  | LINEST For Direct Calibration Plot of Caffeine |  |  |  | Green beans - San Salvador
Standard | Additions (mL) | Concentrations (mg/mL) | Area (mAU*s) | m | 4518.769 | 1.6487 | b | Compound | Area (mAU*s) | Concentration (mg/mL) | Actual concentraton (mg/mL) | Error act. conc (mg/mL) | (%w/w) | error in wt% | Type of bean | Mass of bean (mg) | (% w/w)Caffeine | Error in | (% w/w)Chlorogenic acid | Error in
1 | 0.5 | 0.025 | 118.8598 | um | 49.7081 | 4.6911 | ub | Caffeine | 121.5821 | 0.026541 | 0.13271 | 0.37758 | 3.5964 | 10.2327 | Green | 1049.9 | 3.5964 | 10.2327 | 3.1309 | 2.3358
2 | 1 | 0.05 | 223.4618 | R2 | 0.99976 | 4.7727 | sy | Chlorogenic Acid | 162.6314 | 0.088123 | 0.44062 | 0.32871 | 3.1309 | 2.3358 | Roasted | 1096.5 | 3.4819 | 9.907 | 0.74564 | 0.55627
3 | 2 | 0.1 | 451.1719 | Fisher value | 8263.91 | 2 | df
4 | 3 | 0.15 | 681.7014 | Regression SOS | 188240.1724 | 45.5572 | Residual SOS | [7 empty] | tR (min) | 1.778
[15 empty] | wh/2 (min) | 0.1327
Chlorogenic acid |  |  |  | LINEST For Direct Calibration Plot of Chlorogenic Acid |  |  |  | Roasted Beans - Nicaragua | [6 empty] | N | 994.561
Standard | Additions (mL) | Concentrations (mg/mL) | Area (mAU*s) | m | 2177.4405 | -29.2516 | b | Compound | Area (mAU*s) | Concentration (mg/mL) | Actual concentraton (mg/mL) | Error act. conc (mg/mL) | (%w/w) | error in wt%
1 | 0.5 | 0.0175 | 24.6576 | um | 323.712 | 21.3848 | ub | Caffeine | 122.9183 | 0.026837 | 0.13418 | 0.38179 | 3.4819 | 9.907
2 | 1 | 0.035 | 37.2845 | R2 | 0.95767 | 21.7567 | sy | Chlorogenic Acid | 18.4744 | 0.021918 | 0.10959 | 0.081759 | 0.74564 | 0.55627
3 | 2 | 0.07 | 103.0082 | Fisher value | 45.2455 | 2 | df
4 | 3 | 0.105 | 213.4112 | Regression SOS | 21417.1014 | 946.7072 | Residual SOS
Stock Solutions (mg/mL)
Caffeine | 0.5
Chlorogenic acid | 0.35
[15 empty] | Type of Beans | [Caffeine] (mg/mL) | Sigma caffeine (mg/mL) | [Chlorogenic Acid] (mg/mL) | Sigma chlorogenic acid (mg/mL)
[15 empty] | Green | 0.13271 | 0.37758 | 0.44062 | 0.32871
[15 empty] | Roast | 0.13418 | 0.38179 | 0.10959 | 0.081759